Wearable Solution for elderly Fall detection

Purpose of the document:

1. To let you understand how to use the product.

2. To let you use all the options supported in the product.

Must needed components / software (Spent INR 3,000 for the components):

1. We made the APP for Android at this point.

• Apk Name: fall_detection.apk to be installed in your phone.

• Size of the APK – 4.768 MB.

• Clear cache option provided to enable faster working.

2. The hardware components to be embedded in the glove.

• A pair of bands in which the hardware kit can be embedded (Stitched or pasted based on expert inputs)

• Kit for Right Hand Glove – ATTINY85 Microcontroller, Bluetooth module(HC-05), Gyro, Heart rate sensor, 9v Battery, Power Control Circuitry.

• Kit for Left Hand Glove - ATTINY85 Microcontroller, Bluetooth modules, Accelerometer, GPS Module, 9v Battery, Power Control Circuitry.

• Kit for Restroom Setup – Arduino Nano, IR sensors, Force Sensitive Resistors.

• The complete kit view is presented below in fig. 1.

Figure 1 Kit view as a wearable

Figure 2 System for detecting Inside Restroom fall

Procedure to get Started:

- Install Arduino IDE and all dependent libraries in the computer.

- Connect the circuitry as Indicated in Connections.txt and burn the Gyro_code in Right Glove and Accelerometer_Code in the Left glove Attiny85.

- Also connect the restroom Setup as shown in Fig. 2 and burn the restroom code into that Arduino Nano.

- Now Open Device Manager and make a note of all the COM ports of connected devices.

- Change the COM port numbers accordingly in the Integrated_code.py and Run It.

- Now you can see the data analytics and if a fall occurs a call is generated Immediately.

- Install the Fall detection app in an Android Device and Open the App.

- Enter your Account credentials as shown in Fig. 3

- After successful Login, you can see the devices that are connected to your account as shown in Fig. 4

- Enter into any of the device of your choice where you can see the previous fall data, heart rate analysis, nearby hospitals, route to the fall as shown in Fig. 5

Figure 3 Login Page for the user

Figure 4 Devices connected by the user login

Figure 5 Selection of different features in the App (Including HeartRate)

Data Analytics:

Figure 6 Fall analysis of the Father

Figure 7 Complete Analysis of the Father